## Slide 1: Field Support Group Update
Core members: Joaquin Chaves, Scott Freeman, Chris Kenemer, Chelsea Lopez, Aimee Neeley, Harrison Smith, Vanessa Strohm, and Crystal Thomas
Other contributors to FSG activities: Dirk Aurin
NASA OCRT Meeting – 9 May 2023
Introduction
Accomplishments
  Pigment Analysis Activities
  in situ Protocol updates
  Field campaign efforts
  HyperInSPACE
Antonio Mannino
NASA Goddard Space Flight Center

## Slide 2: Our Staff
Core Members
Joaquin Chaves
Scott Freeman
Chris Kenemer
Aimee Neeley
Crystal Thomas
Other contributing staff
Dirk Aurin
Harrison Smith
Chelsea Lopez
Vanessa Strohm

## Slide 3: Field & Lab activities in support of NASA
Other Projects
New Instruments
our Mission Statement:
Engage in activities to ensure the quality of NASA’s optical and biogeochemical field datasets used in the development of Ocean Color (OC) satellite algorithms and in the validation of OC satellite data products (and models).
This is Critical to PACE’s Success
Lab Experiments
SeaBASS QA/QC
Round Robins
Field Campaigns
Quantify and Reduce Measurement Uncertainties
Protocols
Everything we do feeds into improving knowledge of and reduction of field measurement uncertainties and thus through interdependence improve satellite data products and knowledge of their inherent uncertainties.

## Slide 4: Phytoplankton Pigment Analysis Lab
Dedicated quality-assured lab necessary for validation and maintenance of chl-a climate data record and production of suite of HPLC-amenable phytoplankton pigments
Current/Past Year Accomplishments
Reported ~3050 HPLC pigment samples
On-going efforts to maintain and improve data
quality and analytical efficiency
Upcoming Work
Assessmentof uHPLC and semi uHPLC capabilities
for new instrument purchase
Participation in HIP-7 intercalibration
Methods development/selection for phycobilin pigments
Chromatogram of mixed
pigments analyzed in FSG
Lab by HPLC
Technical lead contact: crystal.s.thomas@nasa.gov

## Slide 5: Status of Field Measurement Protocols – Published I
Vol. 2.0
Beam Attenuation
April 2019
Vol. 1.0 Absorption
(particles)
Nov. 2018
Vol. 3.0 Radiometry for Validation
Dec. 2019
Vol. 4.0 Inline Flow-Through IOPs
Nov. 2019
Vol. 6.0 Particulate Organic Carbon
August 2021
https://ioccg.org/what-we-do/ioccg-publications/ocean-optics-protocols-satellite-ocean-colour-sensor-validation/
Notes: Background – NO NEED TO TALK TO THIS
1. Aquatic Primary Productivity
Status: Workshop held 05-07 December 2019. Draft protocol in development.
  Best practices for measurements of primary productivity derived from in situ/on-deck/laboratory radio/stable isotope incubations, dissolved oxygen concentrations (from incubations or autonomous platforms such as floats or gliders), oxygen-argon ratios, triple oxygen isotope, natural fluorescence, and FRRF/ETR/kinetic analysis.
2. Phytoplankton Taxonomic Working Group
Status: Workshops held June 2017, 2018, & 2019
  Funded in 2017 through the U.S.-based Ocean Carbon and Biogeochemistry program to develop standards and practices for processing phytoplankton taxonomic and size class data collected from automated imaging technologies, including imaging-in-flow cytometry, and reporting these data types to public repositories.
  Primary deliverables in process: A Technical Memorandum will outline recommended data processing, provenance, and data reporting practices for submitting phytoplankton taxonomic and size class data. Data file format standardization and organization will be established for data submission across public repository platforms.
3. Absorption Coefficient (Particles) Protocol
Status: Complete. An electronic version is available on the IOCCG website.
4. Inline Flow-through IOP protocol
Status: Review is complete. In final stages of production.
5. Beam-C protocol
Status: completed May 2019
6. Apparent Optical Properties protocol:
Status: final stages of production.
7. POC Protocol:
Status: to be Posted on IOCCG website for public comment
8. CDOM Absorption Protocol:
Status: 22 Oct 2019 Posted on IOCCG website for public comment
9. Scattering Protocol:
Status: Early writing stage

## Slide 6
Status of Field Measurement Protocols – Published II
Citation: Vandermeulen, R. (2023), Carbon in, carbon out: Balancing the ocean’s books, Eos, 104, https://doi.org/10.1029/2023EO230170. Published on 27 April 2023.
Aquatic Primary Productivity

## Slide 7: In Progress – Scattering Properties
Vol. 8 Volume Scattering Function, scattering, and backscattering coefficients
Authors
Wayne Slade, Emmanuel Boss, et al.
Scattering Properties
More Radiometry
Authors
Vol. 5.0
CDOM Absorption
Authors
Antonio Mannino, Michael G. Novak, Norman B. Nelson, Mathias Belz, Jean-François Berthon, Neil V. Blough, Emmanuel Boss, Annick Bricaud, Joaquin Chaves, Carlos Del Castillo, Rossana Del Vecchio, Eurico J. D’Sa, Scott Freeman, Atsushi Matsuoka, Richard L. Miller, Aimee Neeley, Rüdiger Röttgers, Maria Tzortziou, Jeremy Werdell
CDOM Absorption
Authors
Vol. 9.0 Noteworthy and Supplemental Topics on Ocean Colour Radiometry
Authors
Violeta San Juan Calzado, Susanne Craig, Zhongping Lee et al.
Publish in 2023
Complete in 2023
Completion TBD
Notes: Background – NO NEED TO TALK TO THIS
1. Aquatic Primary Productivity
Status: Workshop held 05-07 December 2019. Draft protocol in development.
  Best practices for measurements of primary productivity derived from in situ/on-deck/laboratory radio/stable isotope incubations, dissolved oxygen concentrations (from incubations or autonomous platforms such as floats or gliders), oxygen-argon ratios, triple oxygen isotope, natural fluorescence, and FRRF/ETR/kinetic analysis.
2. Phytoplankton Taxonomic Working Group
Status: Workshops held June 2017, 2018, & 2019
  Funded in 2017 through the U.S.-based Ocean Carbon and Biogeochemistry program to develop standards and practices for processing phytoplankton taxonomic and size class data collected from automated imaging technologies, including imaging-in-flow cytometry, and reporting these data types to public repositories.
  Primary deliverables in process: A Technical Memorandum will outline recommended data processing, provenance, and data reporting practices for submitting phytoplankton taxonomic and size class data. Data file format standardization and organization will be established for data submission across public repository platforms.
3. Absorption Coefficient (Particles) Protocol
Status: Complete. An electronic version is available on the IOCCG website.
4. Inline Flow-through IOP protocol
Status: Review is complete. In final stages of production.
5. Beam-C protocol
Status: completed May 2019
6. Apparent Optical Properties protocol:
Status: final stages of production.
7. POC Protocol:
Status: to be Posted on IOCCG website for public comment
8. CDOM Absorption Protocol:
Status: 22 Oct 2019 Posted on IOCCG website for public comment
9. Scattering Protocol:
Status: Early writing stage

## Slide 8: Reporting Data from Images and Flow Cytometry
DOI:10.1575/1912/27377
https://hdl.handle.net/1912/27377​
Neeley, Aimee, Beaulieu, Stace E., Proctor, Chris, Cetinić, Ivona, Futrelle, Joe, Soto Ramos, Inia, Sosik, Heidi M., Devred, Emmanuel, Karp-Boss, Lee, Picheral, Marc, Poulton, Nicole, Roesler, Collin S., Shepherd, Adam
https://repository.oceanbestpractices.org/handle/11329/2111
http://dx.doi.org/10.25607/OBP-1864
Present standardized data
tables
Flexible reporting of:
taxonomic information
morphological information
Implements Darwin Core and
SeaDataCloud vocabulary
Discussion of supporting documentation is included

## Slide 9
Working group to develop standards and best practices for the collection and assessment of Operational Phytoplankton Observations (OPO) using particle imaging instruments (PII).
Will identify challenges associated with quantitative sampling of phytoplankton due to:
1) Different oceanic provinces and biomass levels (e.g., coastal, open ocean)
2) Aquatic sampling techniques (e.g., bottle, underway), profiling or towed technologies, ocean observatories (moorings)
3) Operational differences between current phytoplankton imaging instruments (PIIs) and analysis tools.
In-person meetings:
August 2-4, 2023, Bigelow Laboratory
Two-day meeting prior to OSM 2024
Deliverables:
Summary to OCB
Recommended standards and best practices
L&O type publication
Obtain GOOS endorsement
Best Practices for Particle Imaging Instruments
https://www.us-ocb.org/opo-working-group/
S. Clayton (ODU)
N. Poulton (Bigelow)
A. Neeley (NASA/SSAI)

## Slide 10
Top: Pep Gasol, Ginger Armbrust, Michael Sieracki, Yoav Lehahn, Emily Peacock, Heidi Sosik, Raffaella Casotti, Angelique White, Paul Berube, Charlotte Lee, Michael Lomas. Bottom: Hongbin Liu, Nicole Poulton, Zackary Johnson, François Ribalet, Aimee Neeley, Anne Thompson, Amber York
Building an Aquatic Flow Cytometry Repository
Objective: Lay the groundwork to develop a 'functional' repository for aquatic flow cytometry data
What do we mean by 'functional'?
Provide the capability to address critical science questions.
Include features such as tools for quality control, gating and data visualization.
Determine minimum metadata required for the data to be useful (including raw fcs files).
Proposed next steps:
Data intercomparison between a small group of laboratories similar to SeaHARRE
Prototype development
Seek additional support to develop the repository
March 27– 29th, 2023; Seattle, WA

## Slide 11
PACE Ocean Products | IOCCG/other Field Protocols
Rrs (350 to 720nm every 5nm @ 2.5nm steps) and spectral kd | Vol. 3 & 9
Spectral absorption coefficients (at, ap, aph, acdm, ag) | Vols. 1, 4 & 5
Spectral backscatter coefficients (350 to 700 nm) | Vols. 4 & 8
Chlorophyll-a | NASA TM
Phytoplankton pigments (HPLC & Phycobilins) | NASA TM & planning
Phytoplankton community composition | planning
Daily and instantaneous PAR | Vol. 3; NASA TM
Fluorescence line height | ~Vol. 3
Net primary production (NPP) | Vol. 7
Particulate organic carbon | Vol. 6
Particulate inorganic carbon | planning
Phytoplankton carbon | planning
Dissolved organic carbon | Draft
Suspended particulate matter | planning
Particle size distribution | planning
Preparing for PACE Validation
Evaluating instruments and approaches
Hyper-bb (bbp)
SC-6 (bbp)
PSICAM & QFT-ICAM (a)
SBA (Rrs)
RAMSES-II underway
Sorting flow cytometry
IFCB
ML particle ID
SBIR Pipeline
OKSI AquaFloat (Rrs)
Sequoia “Hyper-a”
Resonon airborne (Rrs)
Notes: Here is a list of standard and advanced ocean color data products planned from OCI
Website has much more detail
Note the Rrs will be at 5nm BW at 2.5 (or 1.25 nm steps)
Click
Data latency – guarantee 12-24hr for quick look products, with expected typical turnaround of ~3-5 hrs from acquisition
  ~1 month for climate quality data products due to need for ancillary data products, MERRA and such (surface pressure, wind speed, ozone, NO2,
Click
Data access through the NASA ocean color website
Click
L1 & L2 browser
L3 browser
https protocol provides direct data access
Also direct access by filename
Click
Requirements on data products based on ocean reflectance for values listed here either absolute or relative values; for 50% clear ocean waters and 15nm aggregrated bands.

## Slide 12
30th Atlantic Meridional Transect AMT30 February 20-March 30, 2023
Measurements
Solar-tracking "PySAS" Above water Rrs
Radiometry intercomparison with added TRIOS RAMSES-II
Profiling IOPs (PML);
Sequoia Scientific Hyper-bb
Discrete absorption with Sunstone PSICAM & WETlabs AC-S
HPLC pigments (PML/GSFC)
Particle and CDOM absorption
POC, DOC, PIC, SPM Photo credit: G. Tilstone, PML
Notes: AMT 30, Feb 20- March 30th. 60 discrete depths were sampled during daily ‘noon’ stations. Above water radiometry (NASA, PML), profiling IOPs (PML), underway IOPs (NASA, PML),

## Slide 13
https://github.com/nasa/HyperInSPACE​
Support for SeaBird, TriOS, robotic and manual platforms
State-of-the-art, protocol-compliant
Rigorous quality control
End-to-end uncertainty budgets
Flexible to innovation
Open Source
Data output to SeaBASS, OCDB
HyperCP Project Team
Co-Chair Dirk Aurin (NASA/MSU), Co-Chair Juan Ignacio Gossn (EUMETSAT)
A. Bialek (NPL), A. Ramsay (NPL), A. Deru (ACRI), M. Costa (U. Victoria), N. Haentjens (U. Maine), P. Groetsch (Gybe Inc.)
HyperCP: An open science approach to support the end-user community in deriving high quality in situ ocean color from autonomous, above-water radiometry.
Upcoming Training Workshops:
NASA “Ocean Optics Class” June 12-July7, ME IOCS November 14-17, FL

## Slide 14: Thank You
Questions / Follow-up
antonio.mannino@nasa.gov

## Slide 15: Planned Field Protocol Activities
Future Field Protocols - in planning stage
  Phytoplankton community composition & biovolume – kicked off outside of IOCCG
  Phytoplankton Carbon – kicking off soon
  HPLC Pigments update – kicking off soon
  Suspended Particulate Matter – in house activity
  Dissolved Organic Carbon - draft in development
  Phycobilin Pigments – in-house activity underway
  Particulate Inorganic Carbon – kicking off late 2023
Other recommended protocol topics
  Optical and Biogeochemical Properties in Very Turbid Waters
  Fluorescence properties
  Review ship-based atmospheric aerosol and trace gas measurement protocols
Updates to current IOCCG protocols as required – e.g., PSICAM, Hyper-a, etc.
Notes: Background – NO NEED TO TALK TO THIS
1. Aquatic Primary Productivity
Status: Workshop held 05-07 December 2019. Draft protocol in development.
  Best practices for measurements of primary productivity derived from in situ/on-deck/laboratory radio/stable isotope incubations, dissolved oxygen concentrations (from incubations or autonomous platforms such as floats or gliders), oxygen-argon ratios, triple oxygen isotope, natural fluorescence, and FRRF/ETR/kinetic analysis.
2. Phytoplankton Taxonomic Working Group
Status: Workshops held June 2017, 2018, & 2019
  Funded in 2017 through the U.S.-based Ocean Carbon and Biogeochemistry program to develop standards and practices for processing phytoplankton taxonomic and size class data collected from automated imaging technologies, including imaging-in-flow cytometry, and reporting these data types to public repositories.
  Primary deliverables in process: A Technical Memorandum will outline recommended data processing, provenance, and data reporting practices for submitting phytoplankton taxonomic and size class data. Data file format standardization and organization will be established for data submission across public repository platforms.
3. Absorption Coefficient (Particles) Protocol
Status: Complete. An electronic version is available on the IOCCG website.
4. Inline Flow-through IOP protocol
Status: Review is complete. In final stages of production.
5. Beam-C protocol
Status: completed May 2019
6. Apparent Optical Properties protocol:
Status: final stages of production.
7. POC Protocol:
Status: to be Posted on IOCCG website for public comment
8. CDOM Absorption Protocol:
Status: 22 Oct 2019 Posted on IOCCG website for public comment
9. Scattering Protocol:
Status: Early writing stage